## New CalibrationTemplate
Rare Combinations LLC Alcohol Detector Calibration Template
| Constants |  |  | Notes: | This Excel sheet may only be shared by staff of Rare Combinations LLC and may not be distributed by others.
| Coefficient | 2.6185e-11 | <these update automatically! |  | Blue cells must be changed for each calibration
| Exponent | 3.1544 | < |  | Green cells may be changed if needed
Data |  |  |  |  | Enter the coefficient and exponent from the equation on the graph into the "Constants" area
Alcohol Percentage | Raw Reading | Prediction | Error | Percent Error
0.1% | 243 | 0.08775% | -0.01225% | -12.25%
0.1% | 251 | 0.09719% | -0.002815% | -2.815%
0.25% | 346 | 0.2675% | 0.0175% | 7.002%
0.25% | 356 | 0.2927% | 0.04266% | 17.06%
0.5% | 423 | 0.5042% | 0.004194% | 0.8388%
0.5% | 423 | 0.5042% | 0.004194% | 0.8388%
1% | 527 | 1.009% | 0.00867% | 0.867%
1% | 536 | 1.064% | 0.06401% | 6.401%
2% | 637 | 1.834% | -0.1658% | -8.29%
2% | 641 | 1.871% | -0.1292% | -6.461%
CALCULATOR
| Raw Value: | 350
| Alcohol Percentage: | 0.2774%